DECLARATION OF CONFORMITY

Product Code: See below table

Product Description: See below tabe

| TS Product Code | Supplier Product Code | Product Description |
| --- | --- | --- |
| AB325 | C35-89D 3.4W B22 2700K PK4 | Wessex LED Frosted Dimmable Candle Lamp 3.4W 470lm 2700K Warm White BC (B22) 4 Pack |
| AB318 | C35-89D 3.4W B22 4000K PK4 | Wessex LED Frosted Candle Dimmable Lamp 3.4W 470lm 4000K Cool White BC (B22) 4 Pack |
| AB339 | C35-89D 3.4W E14 2700K PK4 | Wessex LED Frosted Dimmable Candle Lamp 3.4W 470lm 2700K Warm White ES (E14) 4 Pack |
| AB319 | C35-89D 3.4W E14 4000K PK4 | Wessex LED Frosted Candle Dimmable Lamp 3.4W 470lm 4000K Cool White SES (E14) 4 Pack |
| AB357 | G45-14D 3.4W B22 2700K PK4 | Wessex LED Frosted Dimmable Mini Globe Lamp 3.4W 470lm 2700K Warm White BC (B22) 4 Pack |
| AB320 | G45-14D 3.4W B22 4000K PK4 | Wessex LED Frosted Dimmable Mini Globe Lamp 3.4W 470lm 4000K Cool White BC (B22) 4 Pack |
| AB358 | G45-14D 3.4W E14 2700K PK4 | Wessex LED Frosted Dimmable Mini Globe Lamp 3.4W 470lm 2700K Warm White SES (E14) 4 Pack |
| AB322 | G45-14D 3.4W E14 4000K PK4 | Wessex LED Frosted Dimmable Mini Globe Lamp 3.4W 470lm 4000K Cool White SES (E14) 4 Pack |
| AB359 | G45-14D 3.4W E27 2700K PK4 | Wessex LED Frosted Dimmable Mini Globe Lamp 3.4W 470lm 2700K Warm White ES (E27) 4 Pack |
| AB321 | G45-14D 3.4W E27 4000K PK4 | Wessex LED Frosted Dimmable Mini Globe Lamp 3.4W 470lm 4000K Cool White ES (E27) 4 Pack |
| AB274 | A60-8D 5.9W B22 2700K PK5 | Wessex LED A60 GLS Dimmable Lamp 5.9W 806lm 2700K Warm White BC (B22) 5 Pack |
| AB273 | A60-8D 5.9W B22 4000K PK5 | Wessex LED A60 GLS Dimmable Lamp 5.9W 806lm 4000K Cool White BC (B22) 5 Pack |
| AB276 | A60-8D 5.9W E27 2700K PK5 | Wessex LED A60 GLS Dimmable Lamp 5.9W 806lm 2700K Warm White ES (E27) 5 Pack |
| AB275 | A60-8D 5.9W E27 4000K PK5 | Wessex LED A60 GLS Dimmable Lamp 5.9W 806lm 4000K Cool White ES (E27) 5 Pack |
| AB270 | A60-8 5.9W B22 2700K PK5 | Wessex LED A60 GLS Lamp 5.9W 806lm 2700K Warm White BC (B22) 5 Pack |
| AB269 | A60-8 5.9W B22 4000K PK5 | Wessex LED A60 GLS Lamp 5.9W 806lm 4000K Cool White BC (B22) 5 Pack |
| AB272 | A60-8 5.9W E27 4000K PK5 | Wessex LED A60 GLS Lamp 5.9W 806lm 4000K Cool White ES (E27) 5 Pack |
| AB271 | A60-8 5.9W E27 2700K PK5 | Wessex A60 GLS Lamp 5.9W 806lm 2700K Warm White ES (E27) 5 Pack |
| AB324 | C35-89 1.8W E14 2700K PK4 | Wessex LED Frosted Candle Lamp 1.8W 250lm 2700K Warm White SES (E14) 4 Pack |
| AB323 | C35-89 1.8W B22 2700K PK4 | Wessex LED Frosted Candle Lamp 1.8W 250lm 2700K Warm White BC (B22) 4 Pack |
| AB317 | C35-89 1.8W E14 4000K PK4 | Wessex Frosted Candle Lamp 1.8W 250lm 4000K Cool White SES (E14) 4 Pack |
| AB316 | C35-89 1.8W B22 4000K PK4 | Wessex Frosted Candle Lamp 1.8W 250lm 4000K Cool White BC (B22) 4 Pack |
| AB360 | G45-14 1.8W B22 2700K PK4 | Wessex LED Frosted Mini Globe Lamp 1.8W 250lm 2700K Warm White BC (B22) 4 Pack |
| AB362 | G45-14 1.8W E27 2700K PK4 | Wessex LED Frosted Mini Globe Lamp 1.8W 250lm 2700K Warm White ES (E27) 4 Pack |
| AB361 | G45-14 1.8W E14 2700K PK4 | Wessex LED Frosted Mini Globe Lamp 1.8W 250lm 2700K Warm White SES (E14) 4 Pack |

1. Toolstation (company number 04372131)

This declaration of conformity is issued under the sole responsibility of Toolstation

2. Object of the declaration:

- UKCA_EMC Directive:Electromagnetic Compatibility Regulations 2016*

- UKCA_LVD Directive:Electrical Equipment (Safety)Regulations 2016*

- Electromagnetic Compatibility Regulations 2016 (2014/30/EU)

- The Electrical Equipment (Safety) Regulations 2016 (2014/35/EU)

- The Restriction of the Use of Certain Hazardous Substances in Electrical and Electronic Equipment

Regulations 2012 (2011/65/EU&(EU)2015/863)

- REACH Directive: Regulation (EC) No 1907/2006

- Commission Regulation (EU) 2019/2020

- Commission Delegated Regulation (EU) 2019/2015

- COMMISSION DELEGATED REGULATION (EU) 2021/340 and COMMISSION REGULATION (EU) 2021/341

3. References to the relevant standards used or references to the specifications in relation to which conformity is declared:

EN 62560

EN 62493

IEC TR 62778

EN IEC 55015

EN 61547

EN IEC 61000-3-2

EN 61000-3-3

4. Additional information:

Signed for and on behalf of Toolstation Limited